Barometer And Power Status Bits

The GroWeather, Energy, and Health systems all include bit-mapped flags that indicate the status of the Bar Trend Arrows and the Power Level Status located both on the station, and in the sensor image. The address on all three links is 0x10E (The start of the sensor image) and is 2 nibbles in length. This value is updated at least every 16 seconds and at the time the sensor image is sampled. Please see the appropriate memory map if you would like to access the copy on the station since it is at different locations on different stations.

The Monitor, and Perception stations have the Barometer trend information available on the station only.

The Bit numbers given below refer to the one byte value found in the sensor image.

| Bit # | Bit Name | Bit # | Bit Name |
| --- | --- | --- | --- |
| 0 | Bar Steady | 4 | --------- |
| 1 | Bar Rising | 5 | --------- |
| 2 | Bar Falling | 6 | Battery Low |
| 3 | ---------- | 7 | Primary Power Low |

If the Bar Steady bit is set, ignore the value of the Bar Rising and Bar Falling bits.

If the Battery Low bit is set, then the voltage on the backup battery input is less than 7.5 volts, If the Primary Power Low bit is set, then the voltage on the primary power input is less than 9.3 volts. Note that this voltage is less than the range used by the Primary Power Voltage Codes, and that the station will run with input voltages as low as 6 volts.

Control Module communication status codes

The current Control Module communication status is based on statistics measured over the preceding minute. Two values are accumulated: the number of unsuccessful loads, and the number of unsuccessful loads that were preceded by 2 unsuccessful loads. When the second condition is true, the CM-OK light times out. Each minute, a status code is determined from the two counts by looking up in the following table. The resulting code is the higher of the two codes calculated from each value separately.

The count numbers are based upon 3 seconds between load attempts which gives us approximately 20 attempted loads per minute.

| Code | Condition | # Load errors | # Consecutive errors |
| --- | --- | --- | --- |
| 0 | Excellent - No errors | 0 | 0 |
| 1 | OK - intermittent errors | 1-4 | 0 |
| 2 | Bad - errors more common | 5-9 | 1-4 |
| 3 | Very Bad - errors very common | 10-14 | 5-9 |
| 4 | Not Connected - 3/4+ errors | 15+ | 10+ |

Model Numbers

The Davis line of weather stations contain a one nibble model number to help determine what kind of station you are connected to. This code is found at address 0x04D. The GroWeather, Energy and Health links will mirror the station's model number at the same address, while the Monitor, Wizard, and Perception links have the value 0xF

| Model # | Model Name | Model # | Model Name |
| --- | --- | --- | --- |
| 0 | Wizard III | 8 | ---- |
| 1 | Wizard II | 9 | ---- |
| 2 | Monitor | A | ---- |
| 3 | Perception | B | ---- |
| 4 | GroWeather | C | ---- |
| 5 | Energy | D | ---- |
| 6 | Health | E | ---- |
| 7 | ---- | F | Old Link |

Appendix D

Power Voltage Codes

In the GroWeather and Energy systems, the primary power voltage is made available in the station processor memory and in the archive image (and archive records) to evaluate the performance of solar powered stations. The current value is located at address 0x1DD on both stations in a one nibble field. The link will contain the value at the most recent archive interval at location 0x1DE in a 2 nibble field which may be easier to access.

The voltage range covered is 10.25-13.75 volts in 1/4 volt increments. In the following chart, Range indicates the voltage range assigned the given code Value , Voltage gives the voltage value that Davis' software reports for the given code Value.

| Value | Range | Voltage | Value | Range | Voltage |
| --- | --- | --- | --- | --- | --- |
| 0 | 0-10.24 | <10.25 V | 8 | 12.00-12.24 | 12.00 V |
| 1 | 10.25-10.49 | 10.25 V | 9 | 12.25-12.49 | 12.25 V |
| 2 | 10.50-10.74 | 10.50 V | A | 12.50-12.74 | 12.50 V |
| 3 | 10.75-10.99 | 10.75 V | B | 12.75-12.99 | 12.75 V |
| 4 | 11.00-11.24 | 11.00 V | C | 13.00-13.24 | 13.00 V |
| 5 | 11.25-11.49 | 11.25 V | D | 13.25-13.49 | 13.25 V |
| 6 | 11.50-11.74 | 11.50 V | E | 13.50-13.74 | 13.50 V |
| 7 | 11.75-11.99 | 11.75 V | F | 13.75-- | >13.75 V |

THSWI Latitude Codes

The Health station uses the approximate latitude to estimate the height of the sun near noon for each month. This values influences how the solar rad readings affect the Temperature-Humidity-Sun-Wind Index. The number in the Latitude Code column is the value stored on the station. The Latitude Display column indicates what the LCD displays when setting the Latitude Cal number. The Latitude Range is the range of latitudes that should use this latitude code.

| Latitude Code | Latitude Display | Latitude Range | Latitude Code | Latitude Display | Latitude Range |
| --- | --- | --- | --- | --- | --- |
| 0 | -55 | 90 S - 50S | 8 | 30 | 27 N - 32 N |
| 1 | -45 | 50 S - 42 S | 9 | 35 | 32 N - 37 N |
| 2 | -40 | 42 S - 37 S | 10 | 40 | 37 N - 42 N |
| 3 | -35 | 37 S - 32 S | 11 | 45 | 42 N - 47 N |
| 4 | -30 | 32 S - 27 S | 12 | 50 | 47 N - 52 N |
| 5 | -25 | 27 S - 22 S | 13 | 55 | 52 N - 57 N |
| 6 | 0 | 22 S - 22 N | 14 | 60 | 57 N - 65 N |
| 7 | +25 | 22 N - 27 N | 15 | 70 | 65 N - 90 N |

Wind Direction Sector Codes

When the WeatherLink reports the prevailing wind direction in the archive, and when the direction of the hi wind speed is reported on the GroWeather, Energy, and Health stations, it is reported as a number between 0 and 15. These correspond to the 16 compass rose directions. The compass points are numbered clockwise starting with North.

| Dir Code | Direction | Dir Code | Direction | Dir Code | Direction | Dir Code | Direction |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | N | 4 | E | 8 | S | 12 | W |
| 1 | NNE | 5 | ESE | 9 | SSW | 13 | WNW |
| 2 | NE | 6 | SE | 10 | SW | 14 | NW |
| 3 | ENE | 7 | SSE | 11 | WSW | 15 | NNW |

If there is some reason that the wind direction data should be ignored (i.e. the anemometer is broken, disconnected, or there wasn't any wind during the archive interval), then the archived data will have the value 255 instead of a number from the above table. To check the validity of the hi wind speed direction on the GroWeather, Energy and Health stations, you will need to check the "BadHiDir" bit in the "DirFlags" register. If this bit is 1, then ignore the value of the "HiDir" register.

Alarm Bit Definitions for the GroWeather

These tables list the alarm bits for the GroWeather. There are 2 different sets of bit assignments. One is the set available on the Link in the sensor image. The second set is the bits sent to the control module:

Alarm bit definitions

| Bit Number | Alarm Function | Bit Number | Alarm Function | Bit Number | Alarm Function |
| --- | --- | --- | --- | --- | --- |
| 0 | Time | 8 | Soil Temp - Low | 16 | Hum - Low |
| 1 | Daily ET | 9 | Soil Temp - Hi | 17 | Hum - Hi |
| 2 | Dew Point | 10 | User 1 | 18 | Not Used |
| 3 | Total ET | 11 | Temp-Hum Index | 19 | Reserved |
| 4 | Barometer | 12 | Wind Chill | 20 | CM Status |
| 5 | Total Degree Days | 13 | Wind Speed | 21 | CM Status |
| 6 | Air Temp - Low | 14 | User 2 | 22 | CM Status |
| 7 | Air Temp - Hi | 15 | Daily Rain | 23 | CM Status |

Alarm Output module bit definitions

| Bit Number | Alarm Output Module Function | Bit Number | Alarm Output Module Function |
| --- | --- | --- | --- |
| 1 | Daily Rain | 9 | Air Temp - Hi |
| 2 | User 2 | 10 | Air Temp - Low |
| 3 | Wind Speed | 11 | Hum - Hi |
| 4 | Wind Chill | 12 | Hum - Low |
| 5 | Temp-Hum Index | 13 | Reserved |
| 6 | User 1 | 14 | Dew Point |
| 7 | Soil Temp - Hi | 15 | Daily ET |
| 8 | Soil Temp - Low | 16 | Time |

Notes:

User 1 and User 2 are two user controllable bits that can be set through the PC.

CM Status is a one nibble code that describes the status of the communication link between the control module and the weather station.

Reserved is a bit reserved by Davis Instruments for future use. (for example to control a radio transmitter or solar powered battery charger)

The Alarm Output Module assignments given above match the pin numbers on the AOM board. Besides numbering from 1 instead of 0, the order has been reversed, since the first bit sent ends up in the high order position of the AOM's shift register.

ET Error Flag bits

The upper byte of the Archive Image ET field contains 8 Error flags that show the quality of the ET Calculation. There are 2 types of bits: the first 5 bits correspond to the various sensors, the remaining 3 bits indicate whether the station was able to compute ET with the available sensors. The rad and wind terms are components of the ET calculation that reflect the part of the ET generated by solar radiation and wind respectively. If neither of these terms can be calculated, then the "Bad ET" bit is set.

The purpose of these bits is to record what caused an ET calculation to fail. Also, if a partial calculation is possible, it is done and flagged with the appropriate bits.

The Bits are as follows:

| Bit # | Bit Name | Type of Error | Bit # | Bit Name | Type of Error |
| --- | --- | --- | --- | --- | --- |
| 0 | Bad Wind | Sensor | 4 | Bad Bar | Sensor |
| 1 | Bad Temp | Sensor | 5 | Bad Rad Term | Computation |
| 2 | Bad Sun | Sensor | 6 | Bad Wind Term | Computation |
| 3 | Bad Hum | Sensor | 7 | Bad ET | Computation |

Appendix G3

The Leaf Wetness Data/Status byte in the GroWeather's LOOP data packet contains both the current Leaf Wetness Data and whether or not Leaf Wetness is enabled on the console. If the Leaf Wetness sensor is enabled, the lower nibble of the Data/Status byte contains the current data (0-15).

The value of bit 6 tells whether the Leaf Wetness sensor is enabled. This bit can be tested by masking (bitwise AND) the Data/Status byte with 0x40. If the result is non-zero (0x40), then the Leaf Wetness sensor is enabled. If the result is zero, then the Leaf Wetness sensor is disabled and Soil Temperature is enabled.

Alarm Bit Definitions for the Energy EnviroMonitor

These tables list the alarm bits for the Energy EnviroMonitor. There are 2 different sets of bit assignments. One is the set available on the Link in the sensor image. The second set is the bits sent to the control module:

Alarm bit definitions

| Bit Number | Alarm Function | Bit Number | Alarm Function | Bit Number | Alarm Function |
| --- | --- | --- | --- | --- | --- |
| 0 | Time | 8 | Wind Chill | 16 | Not Used |
| 1 | Temp-Hum Index | 9 | Wind Speed | 17 | Not Used |
| 2 | Dew Point | 10 | User 1 | 18 | Not Used |
| 3 | Reserved | 11 | Daily Rain | 19 | Not Used |
| 4 | Air Temp - Low | 12 | Not Used | 20 | CM Status |
| 5 | Air Temp - Hi | 13 | Not Used | 21 | CM Status |
| 6 | Hum - Low | 14 | User 2 | 22 | CM Status |
| 7 | Hum - Hi | 15 | Barometer | 23 | CM Status |

Alarm Output module bit definitions

| Bit Number | Alarm Output Module Function | Bit Number | Alarm Output Module Function |
| --- | --- | --- | --- |
| 1 | Barometer | 9 | Hum - Hi |
| 2 | User 2 | 10 | Hum - Low |
| 3 | Not Used | 11 | Air Temp - Hi |
| 4 | Not Used | 12 | Air Temp - Low |
| 5 | Daily Rain | 13 | Reserved |
| 6 | User 1 | 14 | Dew Point |
| 7 | Wind Speed | 15 | Temp-Hum Index |
| 8 | Wind Chill | 16 | Time |

Notes:

User 1 and User 2 are two user controllable bits that can be set through the PC.

CM Status is a one nibble code that describes the status of the communication link between the control module and the weather station.

Reserved is a bit reserved by Davis Instruments for future use. (for example to control a radio transmitter or solar powered battery charger)

The Alarm Output Module assignments given above match the pin numbers on the AOM board. Besides numbering from 1 instead of 0, the order has been reversed, since the first bit sent ends up in the high order position of the AOM's shift register.

Alarm Bit Definitions for the Health EnviroMonitor

These tables list the alarm bits for the Health EnviroMonitor. There are 2 different sets of bit assignments. One is the set available on the Link in the sensor image. The second set is the bits sent to the control module:

Alarm bit definitions

| Bit Number | Alarm Function | Bit Number | Alarm Function | Bit Number | Alarm Function |
| --- | --- | --- | --- | --- | --- |
| 0 | Air Temp - Low | 8 | Time | 16 | Barometer |
| 1 | Air Temp - Hi | 9 | Out Temp-Hum Index | 17 | UV Dose |
| 2 | In Temp - Low | 10 | Dew Point | 18 | Wind Chill |
| 3 | In Temp - Hi | 11 | Temp-Hum-Sun-Wind Index | 19 | Wind Speed |
| 4 | Out Hum - Low | 12 | Daily Rain | 20 | CM Status |
| 5 | Out Hum - Hi | 13 | In Temp-Hum Index | 21 | CM Status |
| 6 | In Hum - Low | 14 | Not Used | 22 | CM Status |
| 7 | In Hum - Hi | 15 | UV Index | 23 | CM Status |

Alarm Output module bit definitions

| Bit Number | Alarm Output Module Function | Bit Number | Alarm Output Module Function |
| --- | --- | --- | --- |
| 1 | UV Index Hi | 9 | In Hum - Hi |
| 2 | Wind Chill Low | 10 | In Hum - Low |
| 3 | In Temp-Hum Index | 11 | Out Hum - Hi |
| 4 | Daily Rain | 12 | Out Hum - Low |
| 5 | Temp-Hum-Sun-Wind Index | 13 | In Temp - Hi |
| 6 | Wind Speed Hi | 14 | In Temp - Low |
| 7 | Out Temp-Hum Index | 15 | Air Temp - Hi |
| 8 | UV Dose | 16 | Air Temp - Low |

Notes:

User 1, User 2, and Reserved bits are not available on the Health Station

CM Status is a one nibble code that describes the status of the communication link between the control module and the weather station.

The Alarm Output Module assignments given above match the pin numbers on the AOM board. Besides numbering from 1 instead of 0, the order has been reversed, since the first bit sent ends up in the high order position of the AOM's shift register.